[image: image1.jpg]MOMENTIVE



   

SECTION 07 27 26

FLUID APPLIED MEMBRANE AIR BARRIERS

GE SEC2500 SilShield AWB (Patent Pending)

PART 1 GENERAL

1.1
SUMMARY

A. Section Includes:

1. Materials and installation methods for a liquid-applied 100% silicone vapor permeable air and water barrier system.

B. Related Sections

1. Section 01 33 00 Submittal Procedures

2. Section 03 30 00 Cast-in-Place Concrete

3. Section 04 22 00 Concrete Unit Masonry

4. Section 06 16 00 Sheathing

5. Section 07 25 00 Weather Barriers

6. Section 07 92 00 Joint Sealers

7. Section 08 50 00 Windows

8. Section [______] Other

C. References

1. ASTM E 2178, Standard Test Methods for Air Performance of Building Materials

2. ASTM E 96, Standard Test Methods for Water Vapor Transmission of Materials

3. ASTM D 4541, Standard Test Method for Pull-Off Strength of Coatings using Portable Adhesion Testers

4. ASTM D 1970, Self Sealability Test, part of Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection

5. AATCC 127 Water Resistance: Hydrostatic Pressure Test

6. ASTM E 2357, Standard Test Method for Determining Air Leakage of Air Barrier Assemblies  

1.2 SUBMITTALS

A. Comply with Section 01 33 00[_ _ _]

1. Product Data:  Submit manufacturer's technical datasheets, MSDS, application and surface preparation requirements, and warranty for approval.

2. Manufacturers installation instructions.

3. Contractor Qualifications.

4. Samples as required by the architect or owner.

1.3 QUALITY ASSURANCE

A. Comply with Section 01 40 00[_ _ _]

B. Contractor Requirements

1. Knowledgeable in the use and installation of GE products.

2. ABAA contractors are preferred but not required.

C. Precontract Meeting:

1. Convene [______] weeks prior to commencing Work of this section, in accordance with Section 01200 - Project Meetings.

D. Mock-Up

1. Prior to installation of air barrier, apply air barrier to verify details under shop drawing submittals and to demonstrate tie-ins with adjoining construction, and other termination conditions, as well as method of execution. 
2. Construct typical exterior wall panel, 8 feet long by 8 feet wide, incorporating back-up wall, cladding, window and doorframe and sill, insulation, flashing, [building corner condition,] [junction with roof system] [foundation wall] [and] [typical penetrations and gaps]; illustrating materials interface and seals.

3. Install membranes as indicated on architectural/shop drawings per manufacturers instructions.

4. Retain mock-ups until inspected and approved by architect, consultant and/or building owner/representative.

1.4 DELIVERY, STORAGE AND HANDLING

A. Deliver materials in manufacturers original, unopened, undamaged containers with identification labels intact.

B. Store in original, unopened containers out of direct sun.

C. Transfer unused product into suitably sized clean (rust proof) containers and store as described above.

1.5 PROJECT CONDITIONS

A. Environmental Requirements:

1. Application is not recommended when the temperature is below 14° F (-10° C) or if frost or moisture is present on the surfaces to be coated.
2. Application is not recommended to surfaces above 168° F (70° C).
PART 2 PRODUCTS

2.1 MANUFACTURER

A. Manufacturer:  Momentive Performance Materials, Inc., 260 Hudson River Rd., Waterford, NY 12188.  Phone: 877-943-7325, www.ge.com/silicones

2.2 MATERIALS

A. Fluid Applied Air Barrier: GE SEC2500 SilShield AWB

B. Transition Membrane: GE UST2200 UltraSpan available in 6” or 12” widths; or GE US1100 UltraSpan available in 1” to 5” widths.

C. Detail Sealant/Adhesive: GE SilPruf SCS2000, or GE SilPruf NB SCS9000, or GE SilPruf LM SCS2700.

2.3 PERFORMANCE REQUIREMENTS

A. UV Exposure: No Limit

B. Application Temperature: 14° F (-10° C) to 168° F (70° C)
C. Mechanical/Performance Properties:

	Property
	Value(1)
	Test Method

	Required Dry Film Thickness
	12 - 17 mils dry
	Apply 18 - 26 mils wet

	Air Leakage in Air Barrier Assembly
	Pass
	ASTM E 2357

	Air Permeance – tested to 6.3 psf (300 Pa)
	< 0.00001 L/Pa·m2·s
	ASTM E 2178

	Water Vapor Permeance at 17 mils DFT
	8.8 perms @ 12 mils DFT

5.5 perms @ 17 mils DFT
	ASTM D 1653

	Resistance to Wind Driven Rain
	Pass
	ASTM D 6904

	UV & Weathering Resistance
	No degradation after 5000 hours
	QUV Accelerated Weathering Cycles

	Self Sealability around Nails
	Pass @ 17 mils DFT
	ASTM D 1970

	Crack Bridging Ability (1/16” or 1.5mm)
	Pass
	ASTM C 1305

	Service Temperature Range
	-55°F to +250°F (-48°C to 121°C)
	

	Pull of Strength (concrete)
	112 psi (0.77 MPa)
	ASTM D 7234

	Pull of Strength (fiberglass mat faced gypsum sheathing)
	33 psi (0.23 MPa)(2)
	ASTM D 4541

	Tensile Strength
	175 psi (1.21 MPa)
	ASTM D 412

	Elongation
	350%
	ASTM D 412

	Recoat Time, typical
	1-2 hours
	

	Cure Time, complete
	1-2 days
	

	Surface Burning
	Flame Spread: 15

Smoke Developed: 95

NFPA Class A, UBC Class 1
	ASTM E 84


(1) Average value. Actual value may vary.

(2) Full strength of silicone not realized due to failure of fiberglass mat / sheathing substrate prior to coating failure.
PART 3 EXECUTION

3.1 SURFACE PREPARATION

A. All surfaces must be clean, dry and free of contaminants that may interfere with proper bonding of the coating and sealant.  
B. Clean loose mortar and other contaminations where necessary by wire brush or similar abrasion to provide a stable clean surface for application.
C. Masonry joints and cracks greater than crack bridging ability shall be filled (routed and filled where necessary) with a trowel application of GE SilPruf silicone sealant prior to application of the liquid membrane to the surface.  The membrane coating can be spray applied immediately after the application of the GE SilPruf.  When rolling or brushing, sufficient time should pass to allow sufficient skin formation on the sealant.
D. Sheathing joints and cracks greater than crack bridging ability shall be filled with a trowel application of GE SilPruf silicone sealant reinforced with a strip of 2” wide GE US1100 UltraSpan or GE UST2200 UltraSpan silicone transition strip prior to application of the barrier coating.  Alternatively, joints may be sealed with a bridge-joint of GE SilPruf* silicone sealant.  Reference Momentive Application Details.
3.2 INSTALLATION

A. SEC2500 SilShield AWB Fluid Membrane

1. SEC2500 SilShield AWB can be applied by spraying, brush and/or roller.  Contact Momentive Technical Services for information on pump spraying equipment useful to spray this material.  

2. SEC2500 SilShield AWB shall be applied at a rate of approximately 60 sf/gal and can be done with a single coat application (a site verification mock-up is recommended to verify coverage rates which will vary with substrate and method of application).  A 26 wet applied mil thickness will provide a 17 mil dry film thickness. An 18 wet applied mil thickness will provide a 12 mil dry film thickness. 

3. Spray or roller apply the coating in a continuous operation; alternating horizontal and vertical passes to assure a uniform and seamless application.  When applying by roller, finish rolling on a downstroke.

4. Touch up or damage repair can be accomplished using brush, spray or roller and can proceed at anytime after application; while coating is still wet or while coating is dry (cured).

5. Sealant application is not recommended when the temperature is below 14° F (-10° C) or if frost or moisture is present on the surfaces to be coated. 

6. Application of SEC2500 SilShield AWB is not recommended to surfaces above 168° F (70° C). 

7. The ultimate cure and tack-free of this product is dependent upon temperature and humidity. Under basic conditions [72 °F (22° C) and 50%RH ] this material can attain a tack-free surface in 1-2 hours and with full cure overnight.  As temperatures decrease, the tack-free and cure rate slows down (and vice versa as temperatures increase). 

B. UST2200 UltraSpan Transition Sheet


1. Wall surfaces coated with GE SEC2500 SilShield* AWB shall be made continuous at/or beyond terminations, transitions and perimeters.  This can be accomplished using GE UltraSpan* silicone transition strip bonded with GE SilPruf* silicone sealant.  
2. The silicone transition strip should be extended a minimum distance of 3” (or greater if deemed necessary by building official, designer or consultant) beyond or onto transitions, terminations and perimeters. The silicone transition material can be cut with scissors for proper dimensioning.  
3.3 INSTALLATION SEQUENCE

A. There are two options for sequence of installation.  

1. Option 1.

Apply SilPruf* and UltraSpan to seal openings, penetrations, joints, etc.   Then apply SEC2500 Silsheild AWB to cover wall material, SilPruf and UltraSpan.

3. Option 2.

Apply SEC2500 SilShield* AWB to wall, openings, penetrations, etc.  Then apply SilPruf* to seal any joints, openings, penetrations, etc. that have not been sealed by SEC2500 SilShield* AWB.  Use UltraSpan as needed.

END OF SECTION












Page 3 of 5

[image: image1.jpg]