# FOUR FOLD DOORS

# Section 08340- Four Fold Doors

# Part 1-General

  - Related Document:

## Drawing and general provisions of contract, including general and supplementary conditions and division 1 specification section, apply to this section.

  - Work Included:

- Provide all labor, equipment, materials and services required to execute and complete all items of work in connection with Furnishing and Installing the Four Fold Doors described herein. All work shall be in accordance with the specifications and drawings.

- Related Sections include the following:

- Division   9 Section “Painting” for field-applied paint finish.

- Division 16 Section “Conductors and Cables” for electrical service and connections for powered operators and accessories.

- Division 16 Section “Disconnect Switches and Circuit Breakers” for disconnect switches and circuit breakers for powered operators.

  - Definitions

## Operation Cycle: One complete cycle of a door begins with the door in the closed position.  The door is then moved to the open position and back to the closed position.

## Performance Requirements

## A.  Structural Performance: Provide four fold doors capable of withstanding the effects

## Of gravity loads and the following loads and stresses without evidencing permanent      deformation of door components:

## 1.  Wind Load: Uniform pressure (velocity pressure) of 25lbf/sq. ft. (1.2Kpa) acting.

inward and outward

- Operation-Cycle Requirements: Design four fold door components and operator to operate for not less than 100,000 cycles.

08340-1

  - Guarantee

## Provide to the Owner a written guarantee, warranting the doors against any defects or materials and/or workmanship for the new door for a period of 1 year.  With proper maintenance, commencing from the date of final acceptance of the project.  Motors shall be guaranteed for a period of 1 year.  State that all door and control work that becomes defective during the guarantee period shall be repaired promptly, to the requirements of these Specifications and at no cost to the Owner.

  - Quality Assurance

## Installation work shall only be carried out by the unit manufacturer or by an approved installation specialist approved by the unit manufacturer.

## Source Limitations:  Obtain four fold doors through one source from a single manufacturer.

- Obtain operators and controls from the four fold door manufacturer.

1.7     Requirements of Regulatory Agencies

## A.  Equipment and installation shall comply with local, state and federal laws and other mandatory requirements.  Be responsible to insure an installation which is in compliance with such laws and regulations and all changes or alterations required by the authorized inspector or the authority having jurisdiction to be made without increase of subcontract price.  Systems shall bear labeling for electrical equipment form the following standards;

- Underwriters Laboratory 508 Electrical standards.

1.8     Product Delivery, Storage and Handling

- Deliver materials in sequence to meet the installation schedule and arrange ahead for off-the-ground, covered storage locations.  Only materials scheduled to be erected within 24 hours may be stored on site.  Other materials will have to be stored off site.

- Handle components with care.  Protect against damage, dirt, disfigurement and weather.

- Protect other work resulting from work of this Section.  Replace work, which cannot be satisfactorily repaired or restored at no additional cost to the Owner.

1.9     Submittals

- Submit detailed shop drawings of all work, and list the location in the building for each door.  Clearly show and describe in detail, detailed door assemblies, and adjacent construction, including elevations, sections, and details of door, track, hardware, and operating components, dimensions, finishes and relationship of door, frames, track, hardware and operating components to adjacent construction.

08340-2

- Submit printed operation instructions and maintenance data for the doors as follows:

- Wiring diagrams: “as built” straight line wiring and schematic diagrams showing electrical connections and control circuitry.

- Instructions showing operation.

- Lubrication chart indicating lubrication points and type of lubricant recommended for equipment.

# Part 2-Products

  - Manufacturers and Products

## Manufacturer:  Subject to compliance with requirements. Provide products as manufactured by International Door, Inc. (734) 459-3000, or approved equal by the Architect and Owner.

- Model # 400FF-DSI-S

- Doors shall be of steel construction, and of four fold type as indicated on contract drawings.

  - Door Design

## Design doors to withstand horizontal wind loads in closed position of 25 pounds per square foot positive and negative wind load.  Maximum deflection under full design load shall be 1/120 of the span.

  - Materials

## Provide electrically operated, insulated with safety controls and provision for manual operation in case of power failure.

  - Door Material and Construction

- Stiles and rails shall be of structural steel tubing, not smaller than 4”x 3”x 11 GA, with all joints welded and ground smooth. Bracing shall consist of horizontal and vertical tubular sections, to adequately stiffen the door panels.

- Door leaves shall be faced on the exterior side with 14-gauge sheet steel welded to stiles, rails and bracing members from the inside. There shall be no exposed welds on exterior panels. All exterior doors shall be fully insulated with fiberglass thermal insulation, full thickness of panel: door shall be covered on the inside with 16-gauge sheet steel welded to stiles, rails and bracing members. All interior welds are to be ground smooth

- Equipment:

- All hardware shall be heavy duty, industrial type.  Hardware shall be designed so that all dead loads from the door are transferred through the hinges to the building

08340-3

jambs.  Horizontal and vertical loads shall be carried by pre-lubricated, sealed for

life, ball bearings.  Load capacity of all hinges shall be adjustable and also self compensating for loading variations throughout the operating cycle of the door.

- Guide tracks and supports, brackets, guide rollers, and all other hardware necessary for the complete and proper operation of the door shall be provided.

- Doors with motor-operators shall have fail-safe safety edges on the leading edges of both leading leaves.

- Weatherstripping shall be provided and installed along the bottom of each leaf and at vertical joints of leaves at centerline.  Weatherstrip  material shall be cloth inserted noeprene.

- Vision lites shall be provided in the door leaves as indicated, for glazing with ¼” thick Plexiglas. A continuous glazing bead and stop shall be provided. Unless otherwise specified, the Plexiglas shall be provided and installed by door contractor.

  - Finishes General

- All exposed and unexposed surfaces of doors and door hardware, except mechanical parts not usually painted, shall be shop painted.  All exposed parts of operators, either manual or electric, shall be shop painted.

B.  Shop painting shall consist of one (1) coat of gray metallic primer, applied and thoroughly dried before leaving manufacturer.

  - Electric Door Operators

## General: Provide electric door operator assembly of size and capacity recommended and provided by door manufacturer for door and operational life specified with electric motor and factory-prewired motor controls, starter, gear-reduction unit, solenoid-operated brake, clutch, remote-control stations, control devices, integral gearing for locking door, sheaves, racks, levers, cables, brakes and accessories required for proper operation.

- Comply with NFPA 70 and NEC 96

- Furnish all labor and material required for the complete installation of electric door operator for each door, including motor, speed reducers with all gears running in oil, sheaves, cables and brakes.

- Motor shall be 220/440 volt, 3 phase, 60 cycle, totally enclosed, ball bearing, continuous duty and of capacity sufficient to operate the door at specified speed without exceeding a temperature rise of 55 degrees Celsius.  Braking device to be operated automatically by a solenoid and be adjustable to suit the requirements of the door.

08340-4

- Operating mechanism shall include a safety friction clutch, that must be set to allow only slightly more than enough power to reach the door raising mechanism than is required to lift door.  If door should become stalled, the clutch must slip free, eliminating the chance for a motor burnout.  Clutch must be adjusted to slip slightly each time the motor starts so as to cushion starting and reversing loads.

- Door operator is to be equipped with a disconnecting device, chain or lever operated, which will disconnect the driving unit and engage a chain hoisting arrangement to facilitate the easy operation of the door when the power is off.  Motor, brake, hand operation disconnect switch, and open and close limit switches are to be factory mounted and pre-wired to a terminal block n a NEMA 12 enclosure mounted on door operator.  All materials necessary for the pre-wired assembly shall conform to J.I.C. electrical standards for equipment and connections.  The door contractor shall furnish and install the electric door operator including the motor, with “open-close” limit switches, hand chain disconnect switched, solenoid, brake, all pre-wired to a terminal box mounted adjacent to the motor.

- Electric Motors: Provide motors complying with automotive Standards Specification.

- Motors ¼ HP and over- inductive type NEMA design B nameplate rated for 460 volts, three phase, 60 hertz.

- Motors under ¼ HP- split phase or capacitor type rated for 115 volts, single phase, 60 hertz

- Frames: Where manufacturers option supplies 143T-Frames or 56 Frames provide 143T-Frame

- Motor Speed: 1800 rpm unless otherwise indicated

- Explosion Proof Motors: For Class 1, Division 1, and Group D installation in hazardous locations.

- Manufacturers: Subject to compliance with requirements, provide products by one of the following.

- Lincoln

- Marathon

- Reliance

- US Motor

- Electric operators shall open and close the door with smooth acceleration and deceleration, easily and quietly, without jarring under all conditions of wind pressure.  Actuating arms shall be equipped with pre-lubricated, sealed for life, ball bearing.

- Remote-Control Station: Provide momentary-contact, three-button station with pushbutton controls labeled “Open”, “Close” and “Stop”.

08340-5

- Provide interior units, full-guarded, surface-mounted, heavy-duty type, with NEMA ICS 6. Type 12 enclosure.

- Provide exterior units, full-guarded, standard, surface-mounted, weatherproof type.NEMA ICS 6. Type 4 enclosure.

2.7     Reversing  Fail Safe Safety Edge

### Door manufacturer shall provide and install a rubber-encased, reverse action safety mechanism on the electrically-operated four fold doors.  The system is continuously energized and operates through the electrical system to stop the closing travel of the door on contact with an obstruction, providing an instantaneous reversal of the door travel to the full open position.  Failure of any component prevents closing of door.  A multi-conductor cord from an electrical junction box on the bottom door leaf is provided for the safety edge.  The safety edge system shall be catalog # IDI-FSSE-2K as manufactured by International Door, Inc.

### 2.8     Emergency Manual Operation

- Operators shall be designed and installed so that the doors may be opened and closed by hand.

- Operators shall be designed that the electric motor may be removed without affecting manual operation of the door by means of the chain operator.

- Limit Switches: Provide adjustable switches, interlocked with motor controls and set to automatically stop door at fully opened and fully closed positions.  Limit switches shall be plug in type to reduce down time in case of  accidental damage.

- Provide electric operators as an option with ADA-compliant audible alarm and visual indicator lights.

- Radio Control: Provide radio control system as an option consisting of the following.

- 3-Channel universal coaxial receiver to open, close and stop door, 1 per operator

- Multifunction remote control

- Remote antenna mounting kit.

- Pull-Cord Operation as an option: The doors may be operated by a pull-cord device which consist of a switch mounted overhead and away from the door so that a driver may open and close the door without leaving the vehicle.  The switch shall be heavy-duty, oiltight and weather proof.  All relays and contacts to operate and sequence this device shall be included in the control panel.

- Fully Automatic controls as an option: Fully automatic electric control panel includes a flange-mounted, fusible disconnect switch, size 1 reversing starter, fail –safe safety edge controls, loop detector amplifier, timers, relays, pilot lights, selector switches, terminal blocks, etc., all built in a NEMA 12 enclosure to conform to JIC

08340-6

automotive standards.  Loop detector wires are embedded in floor on either side of door to open door automatically.  Modulated L.E.D. through beam electric eye beams are unbroken.  Non-automatic, push button type control systems are available for openings with low volume traffic.

- Electrical power required for standard operators is 220/480 volts, 3 phase, 3 wire, 60 hertz and is to be provided by the electrical contractor

- Ground Fault Detection: This system shall incorporate ground fault detection with indicating lights on the face of the control panels, complying with automotive standards.

# Part 3- Execution

3.1        Installation

- Installation of the doors shall be by the manufacturer or a duly authorized agent who is qualified to do this installation.  The door installer shall be responsible for mounting the door guides and hanging the door panels plumb and true for accurately counter balancing with weather-stripping.  The door installer will make the final adjustments of the limit switches to ensure proper operation of the doors

- The door manufacturer shall have total responsibility for the installation of the doors.

- Koil Kords or S.O. Cords: The Fail Safe Safety Edge shall be wired with koil kords or S.O. cords.  Koil Kords or S.O. Cords shall be furnished by door manufacturer.

3.2       Adjusting

- Test and adjust controls and safeties.  Replace damaged and malfunctioning controls and equipment.

- Any repairs that required an account of faulty materials, workmanship, design or door construction shall be made at no additional charge to the owner.

3.3       Demonstration

- Startup Services: Engage a factory-authorized service representative to perform startup services and to train Owner’s maintenance personnel as specified below:

- Train Owner’s maintenance personnel on procedures and schedules related to startup and shutdown, troubleshooting, servicing, preventive maintenance and procedures for testing and resetting release devices.

- Review data in the maintenance manuals.  Refer to Division ! Section “Contract Closeout”

- Schedule training with Owner with at least 7 days advance notice.

#### END OF SECTION 08340

08340-7