# HIGH SPEED PVC BI-FOLDING DOORS

##### “INSTA-CLEAR”

# Section 08344- PVC Bi-Folding Doors

# Part 1-General

  - Related Document:

## Drawing and general provisions of contract, including general and supplementary conditions and division 1 specification section, apply to this section.

  - Work Included:

- Provide all labor, equipment, materials and services required to execute and complete all items of work in connection with Furnishing and Installing the PVC Bi-Folding Doors described herein. All work shall be in accordance with the specifications and drawings.

- Related Sections include the following:

- Division   9 Section “Painting” for field-applied paint finish.

- Division 16 Section “Conductors and Cables” for electrical service and connections for powered operators and accessories.

- Division 16 Section “Disconnect Switches and Circuit Breakers” for disconnect switches and circuit breakers for powered operators.

  - Definitions

## Operation Cycle: One complete cycle of a door begins with the door in the closed position.  The door is then moved to the open position and back to the closed position.

## Performance Requirements

## Insta-Clear high speed PVC bi-folding doors operate at a speed of 8 ft/sec.  Door

## panels are made of clear PVC.

Panels are overlapped at the center when door is closed.  Center and side panels are

connected with a continuous panel connector.  The door is driven by a high efficiency

electrically operated torque arm system.  The header is structural steel channel that

houses the drive system, trolley track and adjustable limit switches.

Door controls are provided with push-button or automatic operation.  Control voltage is not to exceed 120 volts, AC single phase.

PVC Bi-Folding Doors								08344-1

###### Performance Features:

- Panels:  Door panels are 3/8 or ½ inch thick PVC (depending on door size and application) which is transparent, flexible, wear resistant, insensitive to light exposure, withstands temperatures down to –40 degrees F and conforms to the UL94V-O flame rating test.  The panel material is formulated with an ultraviolet stabilizer and a flame retardant additive.

- Drive Speed:  Doors operate at a speed of 8 ft/sec.  Door is driven with a high efficiency electrically operated, motor driven torque arm system.  The door can be operated by hand if a power failure occurs.

- Low Maintenance:  Overall door design provides easy installation and offers low maintenance.  If the door is hit, the PVC panels will flex to allow the vehicle to pass through.  Heavy duty hinges and trolley wheels are fitted with maintenance free bearings.

- Operation-Cycle Requirements: Design PVC Bi-Folding door components and operator to operate for not less than 100,000 cycles.

  - Guarantee

## Provide to the Owner a written guarantee, warranting the doors against any defects or materials and/or workmanship for the new door for a period of 1 year.  With proper maintenance, commencing from the date of final acceptance of the project.  Motors shall be guaranteed for a period of 1 year.  State that all door and control work that becomes defective during the guarantee period shall be repaired promptly, to the requirements of these Specifications and at no cost to the Owner.

  - Quality Assurance

## Installation work shall only be carried out by the unit manufacturer or by an approved installation specialist approved by the unit manufacturer.

## Source Limitations: Obtain PVC Bi-Folding doors through one source from a single manufacturer.

- Obtain operators and controls from the PVC Bi-Folding door manufacturer.

1.7     Requirements of Regulatory Agencies

## A.  Equipment and installation shall comply with local, state and federal laws and other mandatory requirements.  Be responsible to insure an installation which is in compliance with such laws and regulations and all changes or alterations required by the authorized inspector or the authority having jurisdiction to be made without increase of subcontract price.  Systems shall bear labeling for electrical equipment form the following standards;

PVC Bi-Folding Doors							08344-2

- Underwriters Laboratory 508 Electrical standards.

1.8     Product Delivery, Storage and Handling

- Deliver materials in sequence to meet the installation schedule and arrange ahead for off-the-ground, covered storage locations.  Only materials scheduled to be erected within 24 hours may be stored on site.  Other materials will have to be stored off site.

- Handle components with care.  Protect against damage, dirt, disfigurement and weather.

- Protect other work resulting from work of this Section.  Replace work, which cannot be satisfactorily repaired or restored at no additional cost to the Owner.

1.9     Submittals

- Submit detailed shop drawings of all work, and list the location in the building for each door.  Clearly show and describe in detail, detailed door assemblies, and adjacent construction, including elevations, sections, and details of door, track, hardware, and operating components, dimensions, finishes and relationship of door, frames, track, hardware and operating components to adjacent construction.

- Submit printed operation instructions and maintenance data for the doors as follows:

- Wiring diagrams: “as built” straight line wiring and schematic diagrams showing electrical connections and control circuitry.

- Instructions showing operation.

- Lubrication chart indicating lubrication points and type of lubricant recommended for equipment.

# Part 2-Products

  - Manufacturers and Products

## Manufacturer:  Subject to compliance with requirements. Provide products as manufactured by International Door, Inc. (734) 459-3000, or approved equal by the Architect and Owner.

Model # 400BF-INS-CLR

  - Materials

## Provide electrically operated, PVC Bi-Folding Doors with safety controls and provision for manual operation in case of power failure.

  - Door Material and Construction

### PVC Bi-Folding Doors								08344-3

- Door frame is constructed from structural steel tubing not smaller than 6” x2” x 1/8” thick, with all joints welded and ground smooth.

- Roller track is cold formed steel, integrally mounted to the face of an 8 inch structural header channel.  Heavy duty long lasting trolley wheels fitted with pre-lubricated bearings, are guided inside the track for quiet and accurate operation.  These wheels are also easily accessible for periodic maintenance.

- Equipment:

- All hardware shall be heavy duty, industrial type.  Hardware shall be designed so that all dead loads from the door are transferred through the hinges to the building

jambs.  Horizontal and vertical loads shall be carried by pre-lubricated, sealed for

life, ball bearings.

- Door panels are transparent PVC connected with continuous, double layered, nylon coated fabric panel connectors.

- Door panels overlap adequately when door is closed for efiicient weather seal.  Full

height weatherseal exists between PVC panels and door jambs.  Nylon brush type

seals are provided for the sill.  Jamb seals are continuous, double layered, nylon

coated fabric.

  - Finishes General

- All exposed and unexposed surfaces of doors and door hardware, except mechanical parts not usually painted, shall be shop painted.  All exposed parts of operators, either manual or electric, shall be shop painted.

- Shop painting shall consist of one (1) coat of gray metallic primer, applied and

thoroughly dried before leaving manufacturer.

  - Electric Door Operators

## General: Provide electric door operator assembly of size and capacity recommended and provided by door manufacturer for door and operational life specified with electric motor and factory-prewired motor controls, starter, gear-reduction unit, solenoid-operated brake, remote-control stations, control devices, levers, brakes and accessories required for proper operation.

- Comply with NFPA 70 and NEC 96

- Furnish all labor and material required for the complete installation of electric door operator for each door, including motor, speed reducers with all gears running in oil.

- Motor shall be 220/440 volt, 3 phase, 60 cycle, totally enclosed, ball bearing, continuous duty and of capacity sufficient to operate the door at specified speed without exceeding a temperature rise of 55 degrees Celsius.  Braking device to be

PVC Bi-Folding Doors								08344-4

operated automatically by a solenoid and be adjustable to suit the requirements of the

door.

- Electric Operators are designed so that the door can be operated by hand in case of an emergency.  The operator shall open and close the door with smooth acceleration and deceleration easily and quietly.  The door operator is equipped with a heavy duty torque arm operating system.

- The operator consists of a standard NEMA frame, foot-mounted, totally enclosed electrical motor which drives a separate speed reducer with a spring set, solenoid released heavy duty disc brake.  The operator is factory wired to a terminal strip in a NEMA 12 enclosure.  Limit switches are built in and factory wired to stop the door in full- open or full- closed positions.  All materials necessary for the pre-wired assembly shall conform to J.I.C. electrical standards for equipment and connections.

- Electric Motors: Provide motors complying with automotive Standards Specification.

- Motors ¼ HP and over- inductive type NEMA design B nameplate rated for 460 volts, three phase, 60 hertz.

- Motors under ¼ HP- split phase or capacitor type rated for 115 volts, single phase, 60 hertz

- Frames: Where manufacturers option supplies 143T-Frames or 56 Frames provide 143T-Frame

- Motor Speed: 1800 rpm unless otherwise indicated

- Explosion Proof Motors: For Class 1, Division 1, and Group D installation in hazardous locations.

- Manufacturers: Subject to compliance with requirements, provide products by one of the following.

- Lincoln

- Marathon

- Reliance

- US Motor

- Electric operators shall open and close the door with smooth acceleration and deceleration, easily and quietly, without jarring under all conditions of wind pressure.  Actuating arms shall be equipped with pre-lubricated, sealed for life, ball bearing.

- Remote-Control Station: Provide momentary-contact, three-button station with pushbutton controls labeled “Open”, “Close” and “Stop”.

PVC Bi-Folding Doors								08344-5

- Provide interior units, full-guarded, surface-mounted, heavy-duty type, with NEMA ICS 6. Type 12 enclosure.

- Provide exterior units, full-guarded, standard, surface-mounted, weatherproof type.NEMA ICS 6. Type 4 enclosure.

### 2.6	Emergency Manual Operation

- Operators shall be designed and installed so that the doors may be opened and closed by hand, in case of an emergency.

- Operators shall be designed that the electric motor may be removed without affecting manual operation of the door by means of the chain operator.

- Limit Switches: Provide adjustable switches, interlocked with motor controls and set to automatically stop door at fully opened and fully closed positions.  Limit switches shall be plug in type to reduce down time in case of  accidental damage.

- Provide electric operators as an option with ADA-compliant audible alarm and visual indicator lights.

- Radio Control: Provide radio control system as an option consisting of the following.

- 3-Channel universal coaxial receiver to open, close and stop door, 1 per operator

- Multifunction remote control

- Remote antenna mounting kit.

- Pull-Cord Operation as an option: The doors may be operated by a pull-cord device which consist of a switch mounted overhead and away from the door so that a driver may open and close the door without leaving the vehicle.  The switch shall be heavy-duty, oiltight and weather proof.  All relays and contacts to operate and sequence this device shall be included in the control panel.

- Fully Automatic controls as an option: Fully automatic electric control panel includes a flange-mounted, fusible disconnect switch, size 1 reversing starter, fail –safe safety edge controls, loop detector amplifier, timers, relays, pilot lights, selector switches, terminal blocks, etc., all built in a NEMA 12 enclosure to conform to JIC automotive standards.  Loop detector wires are embedded in floor on either side of door to open door automatically.  Modulated L.E.D. through beam electric eye beams are unbroken.  Non-automatic, push button type control systems are available for openings with low volume traffic.

- Electrical power required for standard operators is 220/480 volts, 3 phase, 3 wire, 60 hertz and is to be provided by the electrical contractor

- Ground Fault Detection: This system shall incorporate ground fault detection with indicating lights on the face of the control panels, complying with automotive standards.

PVC Bi-Folding Doors								08344-6

# Part 3- Execution

3.1        Installation

- Installation of the doors shall be by the manufacturer or a duly authorized agent who is qualified to do this installation.  The door installer shall be responsible for mounting the door guides and hanging the door panels plumb and true for accurately counter balancing with weather-stripping.  The door installer will make the final adjustments of the limit switches to ensure proper operation of the doors

- The door manufacturer shall have total responsibility for the installation of the doors.

3.2       Adjusting

- Test and adjust controls and safeties.  Replace damaged and malfunctioning controls and equipment.

- Any repairs that required an account of faulty materials, workmanship, design or door construction shall be made at no additional charge to the owner.

3.3       Demonstration

- Startup Services: Engage a factory-authorized service representative to perform startup services and to train Owner’s maintenance personnel as specified below:

- Train Owner’s maintenance personnel on procedures and schedules related to startup and shutdown, troubleshooting, servicing, preventive maintenance and procedures for testing and resetting release devices.

- Review data in the maintenance manuals.  Refer to Division 1 Section “Contract Closeout”

- Schedule training with Owner with at least 7 days advance notice.

#### END OF SECTION 08344

PVC Bi-Folding Doors								08344-7