SECTION 05810

EXPANSION JOINT ASSEMBLIES

- GENERAL

      - SUMMARY

        - Section includes:

          - Expansion joint assemblies per details indicated on Drawings and requirements of these Specifications.

edit note:  modify this list per project requirements.

        - Related Sections:

          - Section 03300 - Cast-In-Place Concrete.

          - Section 04810 - Unit Masonry Assemblies.

          - Section 05500 - Metal Fabrications.

          - Section 07620 - Sheet Metal Flashing and Trim.

          - Section 07910 - Joint Sealers.

          - Section 09260 - Gypsum Board Assemblies.

          - Section 09510 – Suspended Acoustical Ceilings.

          - Section 09900 – Paints and Coatings.

          - Division 15 – Mechanical.

          - Division 16 – Electrical.

      - SUBMITTALS

        - Comply with Section [01300] [01330] [01340].

        - Shop Drawings:  Indicate full extent of expansion joint cover assemblies including details indicating profiles of each type of joint.  Splice joints between sections, joinery with other types, special end conditions, anchorage, fasteners, and relationship to adjoining work and finishes.

        - Product Data:  Provide manufacturer’s latest published literature for materials specified, joint assembly profiles, profile dimensions, anchorage devices, and available colors and finish.

        - Samples:  Submit Samples of materials specified herein, including the following:

          - Sample of each type of metal finish indicated on metal of same thickness and alloy to be used in work.

          - Sample of each type of flexible seal to be used in work.

        - Manufacturer's Installation Instructions:  Indicate rough-in sizes.  Provide templates for cast-in or placed frames or anchors, and required tolerances for item placement.

        - Certificates:  Material test reports from qualified independent testing agency indicating and interpreting test results relative to compliance of fire-rated expansion joint assemblies with requirements indicated on Drawings.

        - Warranty:  Submit copy of manufacturer’s full limited warranty specifically documented for this Project.

      - QUALITY ASSURANCES

        - Comply with Section [01400] [01410] [01430].

        - Use materials and perform Work conforming to the latest edition of reference specifications, specified herein, and to [2000 International Building Code] [applicable building codes] and requirements of local authorities having jurisdiction.

        - Fire Performance Characteristics:  Where indicated on Drawings, provide expansion joint cover assemblies identical to those of assemblies whose fire resistance has been determined per ANSI/UL 263, NFPA 251, UBC 43-1 or ASTM E119, and ASTM E814, including hose stream test at full-rated period by UL.

          - Fire Rating:  Not less than the rating of adjacent construction.

        - Loading Characteristics:  Design standard floor coverings to withstand a maximum point load of 500 pounds without damage or permanent deformation.  Design heavy-duty covers to withstand a point load of 2,000 pounds.

        - Single Source Responsibility:  Obtain expansion joint cover assemblies from 1 source from a single manufacturer.

      - DELIVERY, STORAGE, and HANDLING

        - Comply with Section [01600].

        - Deliver materials to Project site ready use.  Fabricate in as large sections and assemblies as practical.

        - Exercise proper care in handling of Work so as not to injure finished surfaces.  Protect Work from damage after it is in place.

        - Store materials under cover in a dry and clean location off the ground. Remove materials that are damaged or otherwise not suitable for installation from job site and replace with acceptable materials at no additional cost to Owner.

      - WARRANTY

        - Provide manufacturer's written warranty per Section [01795].

        - Warrants all expansion joint covers to be free from manufacturing defects in materials and workmanship for a period of one (1) year from the date of final acceptance, but not more than one and one half (1 ½) years from the date of shipment.  Should a product fail to function in normal use within this period, Nystrom shall furnish a new part at no charge.  Failure to use product in methods consistent with Nystrom product manuals shall relieve Nystrom of any liability.  Our liability under this warranty excludes installation or removal costs involved in the product replacement and excludes any responsibility for incidental or consequential damage of any nature.

- PRODUCTS

      - MANUFACTURERs

        - Subject to compliance with requirements, provide products from the following manufacturer:

          - Nystrom Building Products

9300 73rd Ave. N

Brooklyn Park, MN  55428

Toll Free Hotline: 800-547-2635

Toll Free Fax: 800-317-8770

Direct Phone: 612-781-7850

Direct Fax: 612-781-1363

E-Mail:  info@nystrom.com

Internet:  www.nystrom.com

        - Substitutions:  Comply with Section [01600] [01630].

        - Specifications and Drawings are based on manufacturer's proprietary literature from Nystrom Building Products.  Other manufacturers shall comply with minimum levels of material, color selection, and detailing indicated in Specifications or on Drawings.  Architect will be sole judge of appropriateness of substitutions.

      - MATERIALS

        - Aluminum:  ASTM B221, alloy 6005-T5 or 6063-T6 for extrusions; ASTM B209, and alloy 6061-T6, sheet and plate.

          - Protect aluminum surfaces in contact with cementitious materials with zinc chromate primer or chromate conversion coating.

        - EPDM Moisture Barrier:  Minimum 0.060 inch thick 50 durometer commercial grade EPDM rubber.

        - Anchors:  1/4 or 3/8 inch diameter concrete expansion anchors at maximum 24 inches on center spacing to secure to floor slab.

this next item is typically used in floor and interior wall systems.

        - Elastomeric Sealant: Manufacturer’s standard dual durometer santoprene elastomeric seal.

          - Colors to be selected from manufactuer’s standard-black, beige, gray, and off-white.

this next item is typically used on exterior weather resistent type applications, both vertical wall joints.

        - Elastomeric Sealant: Manufacturer’s standard santoprene elastomeric seal.

          - Colors to be selected from manufactuer’s standard-black, beige, and gray.

      - Surface-mounted floor joints

Select surface mounted floor expansion joint cover from the following and delete those not required for project:

        - SA Series:  Single wing cover plate for level floor-to-floor applications.  Recessed to accept floor covering material specified in other Specification Sections.

          - Joint Width:  2 inches (51 mm)

          - Exposed Sightline:  1-1/2 inch (38 mm)

          - Total Joint Movement:  1 inch (25 mm)

select appropriate material thickness and related product below.

          - Flooring Material Thickness:  [1/8 inch (3 mm)] [1/4 inch (6 mm)] [3/8 inch (10 mm)]

          - Acceptable product:  SA150-[125 (1/8 inch)] [-250 (1/4 inch)] [-375 (3/8 inch)]

        - DA Series:  Double wing cover plate for level or raised floor-to-floor applications.  Recessed to accept floor covering material specified in other Specification Sections.

          - Joint Width:  2 inches (51 mm)

          - Exposed Sightline:  3 inch (1 ½ inch each side) (38 mm)

          - Total Joint Movement:  1 inch (25 mm)

select appropriate material thickness and related product below.

          - Flooring Material Thickness:  [1/8 inch (3 mm)] [1/4 inch (6 mm)] [3/8 inch (10 mm)]

          - Acceptable product:  DA150-[125 (1/8 inch)] [-250 (1/4 inch)] [-375 (3/8 inch)]

        - FA Series:  Single wing joint cover with 1 hinged cover plate.  Designed for seismic and uneven slab applications and vertical movement.  Recessed to accept floor covering material specified in other Specification Sections.

          - Joint Width:  3 inches (51 mm)

          - Exposed Sightline:  1-1/2 inch (38 mm)

          - Total Joint Movement:  1 inch (25 mm)

select appropriate material thickness and related product below.

          - Flooring Material Thickness:  [1/8 inch (3 mm)] [1/4 inch (6 mm)] [3/8 inch (10 mm)]

          - Acceptable product:  FA150-[125 (1/8 inch)] [-250 (1/4 inch)] [-375 (3/8 inch)]

      - surface-mounted industrial use

For dt series below, first option relates to dt06 and second option relates to dt10.

        - DT Series:  Cover plate for unfinished, level floor-to-floor applications.

          - Joint Width:  [2 inches (51 mm)] [4 inches (102 mm)]

          - Exposed Sightline:  [6 inches (152 mm)] [10 inches (254 mm)]

          - Total Joint Movement:  [2 inches (51 mm)] [3 inches (76 mm)](5 mm)

          - Acceptable product:  [DT06] [DT10]

For pd series below, first option relates to pd08, second option relates to pd13, and third option relates to pd16

        - PD Series:  Heavy Duty joint cover with 1 hinged cover plate designed for 2 inch vertical movement or uneven slab surfaces.

select EPDM membrane below if required for water tight application.  delete if not required for project.

          - Provide manufacturer's EPDM membrane where indicated.

          - Joint Width:  [2 inches (51 mm)] [3 inches (76 mm)] [6 inches (152 mm)]

          - Exposed Sightline:  [8 inches (203 mm)] [13-1/8 inches (333 mm)] [16 inches (406 mm)]

          - Total Joint Movement:  2 inches (51 mm)

          - Acceptable product:  [PD08] [PD13] [PD16]

pdw series recommended for floor-to-wall applications with openings of 1 inch to 6 inches and where differential settlement is a concern.  first options are for pdw3.7, second options for pdw6.7, and third options for pdw10.

        - PDW Series:  Hinged cover plate for pedestrian walkways and parking decks, floor to wall applications.

          - Joint Width:  [2 inches (51 mm)] [3 inches (76 mm)] [6 inches (152 mm)]

          - Exposed Sightline:

            - Horizontal:  [4-1/2 inches (144 mm)] [6-3/8 inches (162 mm)] [10 inches (254 mm)]

            - Vertical:  2-3/8 inches (61 mm)

          - Maximum Joint Movement:  2 inches (51 mm)

          - Acceptable product:  [PDW3.7] [PDW6.7] [PDW10]

For RA series below, first option relates to ra125 and second option relates to ra375.

        - RA Series:  Recessed flush cover plate for wheeled traffic, floor to floor applications.

          - Joint Width:  2 inch (25 mm)

          - Exposed Sightline:  [9-1/4 inches (235 mm)] [8-1/2 inches (216 mm)]

          - Maximum Joint Movement:  3/4 inch (19 mm)

          - Material Thickness:  1/8”-3/8” inch (5 mm)

          - Acceptable product:  [RA125] [RA375]

the following Sw is for floor to wall applications.

        - SW Series:  Cover plate for unfinished, level floor to wall applications.

          - Joint Width:  1 to 3 inches (25 to 76 mm)

          - Exposed Sightlines:

            - Horizontal:  5 inches (127 mm)

            - Vertical:  1-1/2 inch (38 mm)

          - Total Joint Movement:  1 to 3 inches (25 to 76 mm)

          - Acceptable product:  [SW-300 (76 mm)]

      - surface-mounted wall-to-wall

        - BWF Series:  2-part systems designed for smooth transitions between adjoining walls, and between walls and ceilings.  Joint anchors are installed on walls and joint cover is snapped into place.

For BWF series below, first option relates to BWF-100, second option relates to BWF-200, and third option relates to BWF-300.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [3-1/8 inches (78 mm)] [4-5/8 inches (116 mm)] [6-1/8 inches (153 mm)]

          - Maximum Joint Movement:  1 inch, 2 inch, 3 inch (51 mm)

          - Acceptable product:  [BWF-100] [BWF-200] [BWF-300]

        - BWF/W Series:  2-part systems designed for smooth transitions between corner condition adjoining walls, and between walls and ceilings.  Joint anchors are installed on walls and joint cover is snapped into place.

For BWF series below, first option relates to BWF-100W, second option relates to BWF-200W, and third option relates to BWF-300W.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [1-3/4 inches (44 mm)] [3-3/4 inches (82 mm)] [4-3/4 inches (119 mm)]

          - Maximum Joint Movement:  1 inch, 2 inch, 3 inch (51 mm)

          - Acceptable product:  [BWF-100W] [BWF-200W] [BWF-300W]

        - WJ Series:  2-part systems designed for smooth transitions between adjoining walls, and between walls and ceilings.  Joint anchors are installed on walls and joint cover is snapped into place.

For wj series below, first option relates to wj03, second option relates to wj04, third option relates to wj05, and fourth option relates to wj07.

          - Joint Width:  [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [3 inches (76 mm)] [4 inches (102 mm)] [5-3/4 inches (146 mm)] [7 inches (178 mm)]

          - Maximum Joint Movement:  [1/2 inches (13 mm)] [2 inches (51 mm)] [2-1/2 inches (64 mm)]

          - Acceptable product:  [WJ03] [WJ04] [WJ05] [WJ07]

      - seismic systems

        - NBF Series:  Multi-piece, “no bump” systems designed for seismic movement transitions between floor surfaces.  System consists of recessed frame, continuous glide plate, continuous gaskets, and related anchors.

For nbf series below, first option relates to NBF-100, second option relates to NBF-200, third option relates to NBF-300, fourth option relates to NBF-400, AND FIFTH OPTION RELATES TO NBF-600.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)] [4 inches (102 mm)] [6 inches (152 mm)]

          - Exposed Sightline:  [3 inches (76 mm)] [5 inches (127 mm)] [7 inches (178 mm)] [9 inches (229 mm)] [13 inches (330 mm)]

          - Maximum Joint Movement:  [1/2 inches (13 mm)] [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Acceptable product:  [NBF-100] [NBF-200] [NBF-300] [NBF-400] [NBF-600]

        - NBF/W Series:  Multi-piece, “no bump” systems designed for seismic movement transitions between floors and walls.  System consists of recessed frame, continuous glide plate, continuous gaskets, and related anchors.

For nbf/W series below, first option relates to NBF-100W, second option relates to NBF-200W, third option relates to NBF-300W, fourth option relates to NBF-400W, AND FIFTH OPTION RELATES TO NBF-600W.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)] [4 inches (102 mm)] [6 inches (152 mm)]

          - Exposed Sightline:  [2 inches (51 mm)] [3-1/2 inches (89 mm)] [5 inches (127 mm)] [6-1/2 inches (165 mm)] [9-1/2 inches (241 mm)]

          - Maximum Joint Movement:  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)] [1 inch (25 mm)] [1-1/2 inches (38 mm)]

          - Acceptable product:  [NBF-100W] [NBF-200W] [NBF-300W] [NBF-400W] [NBF-600W]

        - FLA Series:  Multi-piece, “center bar” systems designed for seismic movement transitions between floor surfaces.  System consists of recessed frame, continuous tapered center plate, continuous gaskets, and related anchors.

For FLA series below, first option relates to FLA -100, second option relates to FLA-200, third option relates to FLA -300, fourth option relates to FLA -400, FIFTH OPTION RELATES TO FLA –600, AND SIXTH OPTION RELATES TO FLA-800

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)] [4 inches (102 mm)] [6 inches (152 mm)] [8 inches (203 mm)]

          - Exposed Sightline:  [4-1/8 inches (105 mm)] [5-1/2 inches (140 mm)] [7-3/4 inches (197 mm)] [8-3/4 inches (222 mm)] [13-1/2 inches (343 mm)] [18 inches (457 mm)]

          - Joint Movement (plus/minus):  [1/2 inches (13 mm)] [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (51 mm)] [3 inches (76 mm)] [4 inches (102 mm)]

          - Acceptable product:  [FLA-100] [FLA-200] [FLA-300] [FLA-400] [FLA-600] [FLA-800]

        - FLA/W Series:  Multi-piece, “center bar” systems designed for seismic movement transitions between floors and walls.  System consists of recessed frame, continuous tapered center plate, continuous gaskets, and related anchors.

For FLA/W series below, first option relates to FLA -100, second option relates to FLA-200, third option relates to FLA -300, fourth option relates to FLA -400, FIFTH OPTION RELATES TO FLA –600, AND SIXTH OPTION RELATES TO FLA-800

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)] [4 inches (102 mm)] [6 inches (152 mm)] [8 inches (203 mm)]

          - Exposed Sightline:  [2-1/2 inches (64 mm)] [3-3/4 inches (95 mm)] [5-3/8 inches (137 mm)] [6-3/8 inches (162 mm)] [9-3/4 inches (248 mm)] [13inches (330 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)] [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (51 mm)]

          - Acceptable product:  [FLA-100W] [FLA–200W] [FLA–300W] [FLA–400W] [FLA–600W] [FLA–800W]

        - NBW Series:  Multi-piece, “glide plate” systems designed for seismic movement transitions between wall surfaces.  System consists of recessed frame, continuous glide plate, continuous gaskets, and related anchors.

For nbW series below, first option relates to NBW-100, second option relates to NBW-200, third option relates to NBW-300, fourth option relates to NBW-400, AND FIFTH OPTION RELATES TO NBW-600.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)] [4 inches (102 mm)] [6 inches (152 mm)]

          - Exposed Sightline:  [5 inches (127 mm)] [6 inches (152 mm)] [9 inches (229 mm)] [10 inches (254 mm)] [14 inches (356 mm)]

          - Joint Movement (plus/minus):  [1/2 inches (13 mm)] [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Acceptable product:  [NBW-100] [NBW-200] [NBW-300] [NBW-400] [NBW-600]

        - NBW/W Series:  Multi-piece, “glide plate” systems designed for seismic movement transitions between wall corners.  System consists of frame, continuous glide plate, continuous gaskets, and related anchors.

For nbW/W series below, first option relates to NBW-100W, second option relates to NBW-200W, third option relates to NBW-300W, fourth option relates to NBW-400W, AND FIFTH OPTION RELATES TO NBW-600W.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)] [4 inches (102 mm)] [6 inches (152 mm)]

          - Exposed Sightline:  [3 inches (76 mm)] [4 inches (102 mm)] [6 inches (152 mm)] [7 inches (178 mm)] [11 inches (279 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)] [1 inch (25 mm)] [1-1/2 inches (38 mm)]

          - Acceptable product:  [NBW-100W] [NBW–200W] [NBW–300W] [NBW–400W] [NBW–600W]

      - elastomeric seal systems

tmb series are used with slab recesses.  The expansion joints are installed then recess is filled with grout or concrete, and then floor material is installed.

        - TMB Series:  Multi-piece systems designed for movement transitions between floor surfaces.  System consists of aluminum frames, elastomeric seals, and related anchors.  For use in transitions in concrete, gypsum board assemblies.

For tmb/W series below, first option relates to tmb-100, second option relates to tmb-200, and third option relates to tmb-300.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [1 inch (25 mm)] [1-7/8 inches (47 mm)] [2-7/8 inches (73 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)]

          - Color: B[Black],  E[Beige], G[Gray], O[Off-White] X=Color

          - Acceptable product:  [TMB-100-X] [TMB–200-X] [TMB–300-X]

        - TMB/W Series:  Multi-piece systems designed for movement transitions between corner condition floors and walls.  System consists of aluminum frames, elastomeric seals, and related anchors.  For use in transitions in concrete, and gypsum board assemblies.

For tmb/w series below, first option relates to tmb-100w, second option relates to tmb-200w, and third option relates to tmb-300w.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [1 inch (25 mm)] [1-7/8 inches (47 mm)] [2-7/8 inches (73 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)]

          - Color: B[Black],  E[Beige], G[Gray], O[Off-White] X=Color

          - Acceptable product:  [TMB-100W-X] [TMB–200W-X] [TMB–300W-X]

        - TME Series:  Multi-piece systems designed for movement transitions between floor surfaces.  System consists of aluminum frames, elastomeric seals, and related anchors.  Systems are installed over concrete slab or over flooring material.

For tme series below, first option relates to tme-100, second option relates to tme-200, and third option relates to tme-300.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [4-3/4 inch (121 mm)] [5-5/8 inches (143 mm)] [6-5/8 inches (169 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)]

          - Color: B[Black],  E[Beige], G[Gray], O[Off-White] X=Color

          - Acceptable product:  [TME-100-X] [TME–200-X] [TME–300-X]

        - TME/W Series:  Multi-piece systems designed for movement transitions between corner condition floors and walls.  System consists of aluminum frames, elastomeric seals, and related anchors.  Systems are installed over concrete slab or over flooring material.

For tme series below, first option relates to tme-100w, second option relates to tme-200w, and third option relates to tme-300w.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [2-1/8 inch (73 mm)] [3-3/4 inches (95 mm)] [4-3/4 inch (121 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)]

          - Color: B[Black],  E[Beige], G[Gray], O[Off-White] X=Color

          - Acceptable product:  [TME-100W-X] [TME–200W-X] [TME–300W-X]

        - TMF/FM Series:  Multi-piece systems designed for movement transitions between floor surfaces.  System consists of aluminum frames, elastomeric seals, and related anchors.  Systems include 1/8 inch reveal for VCT.

For tmf series below, first option relates to tmf-100fm, second option relates to tmf-200fm, and third option relates to tmf-300fm.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [1 inch (25 mm)] [1-7/8 inches (47 mm)] [2-7/8 inches (73 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)] [1/2 inch (13 mm)] [3/4 inches (19 mm)]

          - Color: B[Black],  E[Beige], G[Gray], O[Off-White] X=Color

          - Acceptable product:  [TMF-100FM-X] [TMF–200FM-X] [TMF–300FM-X]

        - TMF/FM/W Series:  Multi-piece systems designed for movement transitions between floors and walls.  System consists of aluminum frames, elastomeric seals, and related anchors.  Systems include 1/8 inch reveal for VCT.

For tmf series below, first option relates to tmf-100fmw, second option relates to tmf-200fmw, and third option relates to tmf-300fmw.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [1 inch (25 mm)] [1-7/8 inches (47 mm)] [2-7/8 inches (73 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)]

          - Color: B[Black],  E[Beige], G[Gray], O[Off-White] X=Color

          - Acceptable product:  [TMF-100FMW-X] [TMF–200FMW-X] [TMF–300FMW-X]

        - TMF Series:  Multi-piece systems designed for movement transitions between floor surfaces.  System consists of aluminum frames, elastomeric seals, and related anchors.  Systems include 1/4 inch reveal for carpet.

For tmf series below, first option relates to tmf-100, second option relates to tmf-200, and third option relates to tmf-300.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [1 inch (25 mm)] [1-7/8 inches (47 mm)] [2-7/8 inches (73 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)] [1/2 inch (13 mm)] [3/4 inches (19 mm)]

          - Color: B[Black],  E[Beige], G[Gray], O[Off-White] X=Color

          - Acceptable product:  [TMF-100-X] [TMF–200-X] [TMF–300-X]

        - TMF/W Series:  Multi-piece systems designed for movement transitions between floors and walls.  System consists of aluminum frames, elastomeric seals, and related anchors.  Systems include 1/4 inch reveal for carpet.

For tmf/W series below, first option relates to tmf-100w, second option relates to tmf-200w, and third option relates to tmf-300w.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [1 inch (25 mm)] [1-7/8 inches (47 mm)] [2-7/8 inches (73 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)]

          - Color: B[Black],  E[Beige], G[Gray], O[Off-White] X=Color

          - Acceptable product:  [TMF-100W-X] [TMF–200W-X] [TMF–300W-X]

        - TCC Series:  Multi-piece systems designed for movement transitions between dry wall surfaces.  System consists of aluminum frames for feathering drywall, and elastomeric seals.

For tcc series below, first option relates to tcc-100, second option relates to tcc-200, and third option relates to tcc-300.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [1 inch (25 mm)] [1-7/8 inches (47 mm)] [3 inches (76 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)]

          - Color: B[Black],  E[Beige], G[Gray], O[Off-White] X=Color

          - Acceptable product:  [TCC-100-X] [TCC–200-X] [TCC–300-X]

        - TCC/W Series:  Multi-piece systems designed for movement transitions between dry wall corners.  System consists of aluminum frames for feathering drywall, and elastomeric seals.

For tcc/W series below, first option relates to tcc-100w, second option relates to tcc-200w, and third option relates to tcc-300w.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)] [3 inches (76 mm)]

          - Exposed Sightline:  [1 inch (25 mm)] [1-7/8 inches (47 mm)] [2-7/8 inches (73 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)]

          - Color: B[Black],  E[Beige], G[Gray], O[Off-White] X=Color

          - Acceptable product:  [TCC-100W-X] [TCC–200W-X] [TCC–300W-X]

        - TCN Series:  Multi-piece systems designed for movement transitions between acoustical ceiling surfaces.  System consists of aluminum frames, white colored vinyl seals.

For tcN series below, first option relates to tcN-100 AND second option relates to tcN-200.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)]

          - Exposed Sightline:  [1 inch (25 mm)] [2 inches (51 mm)]

          - Joint Movement (plus/minus):  [1/2 inch (13 mm)] [1 inch (25 mm)]

          - Color: W[White]

          - Acceptable product:  [TCN-100-W] [TCN–200-W]

        - TCN/W Series:  Corner Condition.  Multi-piece systems designed for movement transitions between acoustical ceiling surfaces.  System consists of aluminum frames, white colored vinyl seals.

For tcN series below, first option relates to tcN-100 AND second option relates to tcN-200.

          - Joint Width:  [1 inch (25 mm)] [2 inches (51 mm)]

          - Exposed Sightline:  [1 inch (25 mm)] [2 inches (51 mm)]

          - Joint Movement (plus/minus):  [1/2 inch (13 mm)] [1 inch (25 mm)]

          - Color: W[White]

          - Acceptable product:  [TCN-100-W] [TCN–200-W]

      - Exterior systems

        - SAN Series:  Compression-type, santoprene seals designed for weathertight exterior and interior conditions and multi-directional movement.

For SAN series below, first option relates to SAN-100, second option relates to SAN-225, third option relates to SAN-250, FOURTH OPTION RELATES TO SAN-300, FIFTH OPTION RELATES TO SAN-400, SIXTH OPTION RELATES TO SAN-500, AND SEVENTH OPTION RELATES TO SAN-600.

          - Joint Width Minimum:  [1/2 inch (13 mm)] [11/16 inch (17 mm)] [1-1/16 inches (27 mm)] [1-7/16 inches (37 mm) [1-1/4 inches (32 mm)] [1-7/16 inches (37 mm)] [1-13/16 inches (46 mm)]

          - Joint Width Maximum:  [1-1/2 inch (38 mm)] [1-15/16 inch (49 mm)] [2-1/8 inches (54 mm)] [2-9/16 inches (65 mm) [3-3/8 inches (86 mm)] [4-1/4 inches (108 mm)] [5-1/8 inches (130 mm)]

          - Total Movement:  [1 inch (25 mm)] [1-1/4 inches (32 mm)] [1-1/16 inches (27 mm)] [1-1/8 inches (29 mm)] [2-1/8 inches (54 mm)] [2-3/16 inches (71 mm)] [3-5/16 inches (84 mm)]

          - Groove Depth at Full Compression:  [NA] [1-7/8 inches (48 mm)] [2-3/8 inches (60 mm)] [2-7/32 inches (64 mm)] [3-3/16 inches (81 mm)] [3-5/8 inches (92 mm)] [4-5/8 inches (117 mm)]

          - Joint Movement (plus/minus):  [1/4 inch (6 mm)]  [1/2 inch (13 mm)] [3/4 inches (19 mm)]

          - Color: B[Black],  E[Beige], G[Gray], [Custom] X=Color

          - Acceptable product:  [SAN-100-X] [SAN-225-X] [SAN-250-X] [SAN-300-X] [SAN-400-X] [SAN-500-X] [SAN-600-X]

        - EW Series:  Santoprene seals designed for weathertight, seismic exterior conditions and multi-directional movement, available with secondary moisture barrier.

For EW series below, first option relates to EW200, second option relates to EW300, third option relates to EW400, fourth option relates to EW500, AND FIFTH OPTION RELATES TO EW600.

          - Joint Width:  [2 inches (51 mm)] [3 inches (76 mm)] [4 inches (102 mm)] [5 inches (127 mm)] [6 inches (152 mm)]

          - Exposed Sightline:  [2 inches (51 mm)] [3 inches (76 mm)] [4 inches (102 mm)] [5 inches (127 mm)] [6 inches (152 mm)]

          - Joint Movement:  [2 inches (51 mm)] [3-1/8 inches (130 mm)] [4-3/4 inches (121 mm)] [6-3/4 inches (171 mm)] [9-1/2 inches (241 mm)]

          - Color: B[Black],  E[Beige], G[Gray], X=Color

          - Acceptable product:  [EW-200-X] [EW-300-X] [EW-400-X] [EW-500-X] [EW-600-X]

      - Accessories

        - Threaded Anchor Assembly:  Internally threaded, flanged, drop in anchor.

          - Fasteners:  Flat-head cap screw of heat-treated alloy steel, ASME/ANSI B18.3.

          - Finishes:  Cadmium plated.

        - Epoxy Adhesive:  High-strength, ceramic-filled epoxy polymer.  Provide where recommended by manufacturer to anchor threaded assemblies.

          - Acceptable product:  Epcon Ceramic 6” manufactured by ITW Ramset/Red Head or approval substitute.

          - Hilti (2 part) Epoxy; HIT HY 150 Methacrylate Resin and Hardner.  (Used only on PD systems).

        - Sleeve Anchors:  2 inch or 3-1/2 inch long sleeve anchors.  Provide where recommended by manufacturer.

          - Acceptable manufacturer:  ITW Ramset/Red Head.

        - Fire Barriers:  Design for indicated or required dynamic structural movement without material degradation or fatigue.  Test in maximum joint width condition, with a field splice, as a component of an expansion joint cover per ASTM E119, including hose stream test at full rated period by UL.

          - Acceptable product:  Fire barrier determined by Nystrom Building Products for joint opening and fire rating.

      - FABRICATION

        - Provide expansion joint cover assemblies of design, basic profile, materials, and operation indicated on Drawings.

          - Select units comparable to those indicated or required to accommodate joint size, variations in adjacent surfaces, and structural movement.

          - Furnish units in longest practicable lengths to minimize number of end joints.

          - Provide hairline mitered corners where joint changes directions or abuts other materials.

          - Include closure materials and transition pieces, tee-joints, corner, curbs, cross connections, and other accessories as required to provide continuous joint cover assemblies.

        - Fire Barrier Systems:

          - Prefabricated fire barrier assemblies tested per ANSI/UL 263 procedures for [1] [and] [2] hour classifications, unless otherwise detailed.  Comply with ASTM E119 and NFPA 251 procedures.

          - Material:  UL labeled and subject to UL follow-up system for quality assurance

      - FINISHES

        - Metal Finishes:

          - Comply with NAAM “Metal Finishes Manual” for finish designations and application recommendations, unless noted otherwise.  Apply finishes in factory after products are fabricated.  Protect finishes on exposed surfaces with protective covering before shipment.

          - Aluminum Finishes:

            - Standard mill finish most covers.

            - Standard Clear Anodized Finish - AA-C22A41, medium matte etched finish with 0.7 mil minimum thick anodic coating.  (Available only for: WJ, BWF, BWF/W, NBW, NBW/W, and SW.

        - Factory-Primed Concealed Surfaces:  Protect concealed metal surfaces that will be in contact with concrete and masonry surfaces when installed by applying a shop coat of manufacturer’s standard primer to contact surfaces.

          - Minimum dry film thickness:  2.0 mils.

- EXECUTION

      - EXAMINATION

        - Comply with Section [01700].

        - Verify that joint preparation and affected dimensions are acceptable.

        - Verify tolerances and correct improper conditions.

      - pREPARATION

        - Provide templates, as required, to related trades for location of supports and anchorage items.

      - INSTALLATION

        - In addition to requirements specified herein, comply with manufacturer's instructions and recommendations for all phases of Work, including preparation of substrate, applying materials, and protection of installed units.

        - Provide anchorage devices and fasteners where necessary for securing expansion joint cover assemblies to in-place construction, including threaded fasteners with drill-in fasteners for masonry and concrete where anchoring members are not embedded.  Provide fasteners of metal, type, and size to suit type of construction indicated.  Provide for secure attachment of expansion joint cover assemblies.

        - Perform cutting, drilling, and fitting required for installation of expansion joint covers.  Install joint cover assemblies in true alignment and in proper relationship to expansion joints and adjoining finished surfaces measured from established lines and levels.

        - Allow adequate free movement for thermal expansion and contraction of metal to avoid buckling.

        - Set floor covers at elevations to be flush with adjacent finished floor materials.  If necessary, shim to level, but ensure base frames have continual support to prevent rocking and vertical deflection.

        - Locate wall, ceiling, and soffit covers in continuous contact with adjacent surfaces.  Securely attach in place with required accessories.

        - Locate anchors at intervals recommended by manufacturer, but not less than 3 inches from each end and not more than 24 inches on center.

        - Maintain continuity of expansion joint cover assemblies with end joints held to a minimum and metal members aligned mechanically using splice joints.  Cut and fit ends to produce joints that will accommodate thermal expansion and contraction of metal to avoid buckling of frames.

        - Adhere flexible filler materials, if any, to frames with adhesive or pressure sensitive tape as recommended by manufacturer.

          - Installation of Extruded Preformed Seals:  Install seals per manufacturer’s instructions and with minimum number of end joints.

          - For straight sections, provide preformed seals in continuous lengths.

          - Vulcanize or heat-seal field splice joints using manufacturer’s recommended procedure.

          - Apply manufacture’s approved adhesive, epoxy, or lubricant adhesive to both frame interfaces prior to installing preformed seal.

          - Seal transitions in compliance with manufacturer’s instructions.

        - Installation of Elastomeric Sealant Joint Assemblies:

          - Seal end joints within continuous runs and joints at transitions per manufacturer’s directions to provide a watertight installation.

          - Install exterior flexible seal in standard lengths.

          - Seal transitions and butt joints per manufacturer’s instructions.

        - Installation of Seismic Seals:

          - Install secondary seals in continuous lengths.  Vulcanize field splice joints in secondary seal material to provide watertight joints using manufacturer’s recommended procedures.

          - Install primary flexible seals in standard lengths.

          - Seal transitions and butt joints per manufacturer’s instructions.

        - Installation of Fire Barrier:

          - Install fire barrier per [2000 International Building Code] [applicable building codes] using manufacturer’s recommended procedures.

          - Install transition and end joints per manufacturer’s instructions to provide continuous fire resistance.

          - Miter-cut fire barriers in field to accommodate changes in direction.

      - FIELD QUALITY CONTROL

        - Comply with Section [01460].

        - Provide inspection of expansion joint installation processes, and certify in writing, to Architect, that systems have been installed per Contract Documents.

      - CLEANING AND PROTECTION

        - Do not remove strippable protective material until finish Work in adjacent areas is complete.  When protective material is removed, clean exposed metal surfaces to comply with manufacturer’s instructions.

        - Do not permit construction traffic over unprotected floor joint surfaces.

END OF SECTION