[image: image1.jpg]


      [image: image2.png]Dec 3

Go Beyond Ordinary




SECTION 06 73 00

COMPOSITE DECKING

PART  1   GENERAL

1.1  SECTION INCLUDES

A.  Composite Decking
1.2  RELATED DOCUMENTS

A.  Section 06 11 00

1.3  REFRENCES

A.  ASTM D696: Standard Test Method for Coefficient of Linear Thermal Expansion of Plastics Between −30°C and 30°C with a Vitreous Silica Dilatometer, ASTM International
B.  ASTM D6109: Standard Test Methods for Flexural Properties of Unreinforced and Reinforced Plastic Lumber and Related Products, ASTM International

C.  ASTM D790: Standard Test Methods for Flexural Properties of Unreinforced and Reinforced Plastics and Electrical Insulating Materials, ASTM International
D.  ASTM D638: Standard Test Method for Tensile Properties of Plastics, ASTM International
E.  ASTM D143: Standard Test Methods for Small Clear Specimens of Timber, ASTM International
F.  ASTM D2395: Standard Test Methods for Density and Specific Gravity (Relative Density) of Wood and Wood-Based Materials, ASTM International

G.  ASTM D1761: Standard Test Methods for Mechanical Fasteners in Wood, ASTM International

H.  AWPA E7-15: Standard Field Test for Evaluation of Wood Preservatives to be Used in Ground Contact (UC4A, UC4B, UC4C); Stake Test, American Wood Protection Association
I.  ASTM D 6662: Standard Specification for Polyolefin-Based Plastic Lumber Decking Boards, ASTM International
J.  ASTM D 1037: Standard Test Methods for Evaluating Properties of Wood-Base Fiber and Particle Panel Materials, ASTM International
K.  ASTM D 143: Standard Test Methods for Small Clear Specimens of Timber, ASTM International
L.  ASTM C 177: Standard Test Method for Steady-State Heat Flux Measurements and Thermal Transmission Properties by Means of the Guarded-Hot-Plate Apparatus, ASTM International
1.4  DESIGN AND PERFORMANCE REQUIREMENTS

A.  Structural Performance:  

1.  Deck:  Uniform Load:  100 lbf/sq. ft. 

2.  Treads of Stairs:  Concentrated Load:  750 lbf/sq. ft., and 1/8” max. defection with a concentrated load of 300 lbf on area of 4 sq. in

B.  Fire-Test-Response Characteristics per ASTM E-84:  

1.5  SUBMITTALS

A.  Product Data:  Indicate sizes, profiles, surface style, and performance characteristics.

B.  
Samples:  For each product specified, one sample, minimum size 4 inches long, representing actual product, color, and finish.


1.6  DELIVERY, STORAGE, AND HANDLING

A.  Storage and Handling

1.  Never dump Deckorator materials when unloading.

2.  Store on a flat surface and cover with non-translucent material.

3.  When carrying Deckorator boards, carry on edge for better support. 

4.  Refer to installation instructions for additional guidelines on each product.

1.7  WARRANTY
A.  Warranty: Limited Residential Warranty against stain and fade for a period of 25 years beginning from the date of purchase under normal conditions of use and exposure.  
PART  2    PRODUCTS
2.1  MANUFACTURERS

A.  Contract Documents are based on products by: Deckorators, 1801 E. Lessard Street, Prairie du Chien, Wisconsin 53821
B.  Substitutions:  Not permitted under Division 01.

2.2  APPLICATIONS/SCOPE

A.  
Wood/Plastic Composite Lumber:

1.  Material Description: Composite plank consisting of high density polyethylene (HDPE) and wood flour, extruded into sizes and shapes indicated with the following physical properties:

a.  Heritage, Vista, and Classic Decking boards: 0.875 inches x 5.5 inches wide
1)  Lengths – 12’, 16’, 20’

b.  Color:
1)  Heritage: Barrel-Aged Oak and Milled Maple
a)  Surface Texture: Enhanced wood grain pattern for a rustic look

b)  Edges are Smooth for face fastening, or Grooved for Stowaway or other Deck Fasteners

2)  Vista: Ashwood, Driftwood, Ironwood, Kingwood, Rosewood, and Sandalwood

a)  Surface Texture: Rich, vertical, embossed wood-grain pattern
b)  Edges are Smooth for face fastening, or Grooved for Stowaway or other Deck Fasteners
3)  Classic: Cedar, Gray, Redwood, and Walnut

a)  Surface Texture: Rich, vertical, embossed wood-grain pattern

b)  Edges are Smooth for face fastening, or Grooved for Stowaway or other Deck Fasteners

c.  Specific Gravity:  1.2 g/cu. cm. when tested in accordance with ASTM D-2395.

d.  Flexural Strength MOR (psi): 3467 when tested in accordance with ASTM D-6109.

e.  Flexural Modulus MOE (psi): 554,985 when tested in accordance with ASTM D-6109.

f.  Tensile Modulus MOE (psi): 450,000 when tested in accordance with ASTM D-638.
g.  Compressive Strength (psi): 2,350 when tested in accordance with ASTM D-143.
h.  Hardness (lbs.): 1,390 when tested in accordance with ASTM D-143.

i.  Moisture Absorption: 1.70% when tested in accordance with ASTM D-1037.
j.  Coefficient of Thermal Expansion: 1.6x10-5  when tested in accordance with ASTM D-696.
k.  Screw Withdraw #10 wood screw (lbs.): 88 when tested in accordance with ASTM D-1761.

l.  Screw Head Pull-through #9 screw (lbs.): 909 when tested in accordance with ASTM D-1761

m.  Fungus Resistance (18 month): No decay (brown and white rot) when tested in accordance with AWPA E7-93.
n.  Fungus Resistance (18 month): No Termites (Formosan Sub.) when tested in accordance with AWPA E7-93.

o.  UV Exposure MOR Degrade: -4.30% when tested in accordance with ASTM D-6662.

p.  UV Exposure MOE Degrade: -7.50% when tested in accordance with ASTM D-6662.

q.  Thermal Conductivity (Btu/hr/ft2/°F): 2.03 when tested in accordance with ASTM C 177.

2.3  ACCESSORIES

A.  Fasteners:

1.  Concealed Fasteners: Pre-set composite clip with stainless steel deck screw
a.  Stowaway Hidden Fastener
b.  Equator® Hidden Fastener

c.  CAMO Clip® Hidden Fastener

d.  FastenMaster Tiger Claw® TCG

2.  Screws: Color Matched No. 8, 2-1/2 inch stainless steel or high quality coated composite deck screws.

a.  Starborn Industries CAP-TOR®xd
b.  Screw Products CD234 Composite Deck Screw

c.  FastenMaster TrapEase® 3
PART  3   EXECUTION

3.1  EXAMINATION

A.  Install according to manufactures instructions.

B.  Cut, drill, and rout using carbide tipped blades.

C.  Pre-drill holes located closer than 1 1/2 inches from ends of plank.

D.  Cut ends square.

E.  Do not use composite wood material for structural applications.

3.2  CLEANING

A.  Clean surfaces regularly with a composite wood/plastic cleaner such as Corte Clean (www.corteclean.com).

B.         Power wash with a fan tipped nozzle in the direction of the grain of the planks with a maximum of 1500 psi.

END OF SECTION

06 73 00-3 


